## Sheet1
CCD	Manufacturer	Model	Temp [°C]	Gain [e-/ADU]	Full Well [e-]	Readout Noise [e-]	Total System Noise [e-]	Binning	Date of Test	Owner	Observation
EMCCD DL-658M	Andor	DL-658M		0.00		0.14	0.37	1x1	28.2.2012	CD	Gain=255; Ultra low noise camera with EMCCD device
KODAK KAF-16803	Moravian Instruments	G4-16000	-17.00	1.46	95681	7.93	10.03	1x1	31.8.2011	PN	Consistent results
KODAK KAF-16803	FLI	PL16803	-30.00	1.43	93715	8.23	9.78	1x1	11.5.2012	MJ	Consistent results
KODAK KAF-16803	Moravian Instruments	G4-16000	-20.00	1.45	95026	8.74	9.73	1x1	8.5.2011	beta	Pre-production beta camera
KODAK KAF-16803	Apogee	U16000		1.32	86506	9.54	12.94	1x1	5.9.2012		Consistent results
KODAK KAF-3200	QSI	QSI-532	-20.00	1.31	85851	9.60	10.42	1x1	4.4.2011	MU	Consistent results
KODAK KAF-8300	QHY	QHY9	-20.00	0.24	15728	7.02	8.04	1x1	16.2.2011	DK	Same camera with Gain = 81%; Offset = 107; RN ???
KODAK KAF-8300	Moravian Instruments	G2-8300		0.38	24903	7.25	8.50	1x1	17.10.2012		Consistent results; lowest noise KAF-8300 camera
KODAK KAF-8300	Moravian Instruments	G2-8300	-30.00	0.38	24903	7.45	8.94	1x1	26.1.2011	MH	Consistent results; lowest noise KAF-8300 camera
KODAK KAF-8300	Moravian Instruments	G2-8300	-20.00	0.38	24903	7.66	9.09	1x1	26.1.2011	MH	Consistent results; lowest noise KAF-8300 camera
KODAK KAF-8300	Moravian Instruments	G2-8300	-40.00	0.39	25559	7.67	8.72	1x1	26.1.2011	OP	Consistent results; lowest noise KAF-8300 camera
KODAK KAF-8300	Moravian Instruments	G2-8300	-30.00	0.38	24903	7.73	9.06	1x1	19.4.2011	LS	Consistent results; lowest noise KAF-8300 camera
KODAK KAF-8300	Moravian Instruments	G2-8300	-10.00	0.39	25559	7.86	9.29	1x1	26.1.2011	MH	Consistent results; lowest noise KAF-8300 camera
KODAK KAF-8300	Moravian Instruments	G2-8300	-20.00	0.38	24903	8.00	9.64	1x1	7.2.2011	MM	Consistent results; lowest noise KAF-8300 camera
KODAK KAF-8300	SBIG	ST-8300M	-20.00	0.38	24903	8.46	9.80	1x1	6.12.2011	RN	Consistent results
KODAK KAF-8300	SBIG	ST-8300M	-40.00	0.37	24248	8.56	9.51	1x1	29.1.2011	MA	Consistent results
KODAK KAF-8300	Apogee	U8300	-35.00	0.59	38666	8.88	10.00	1x1	24.2.2009	NB	Very good camera, consistent results
KODAK KAF-8300	SBIG	STT-8300M		0.37	24248	8.91	10.01	1x1	7.1.2013	jer	Consistent results
KODAK KAF-8300	QSI	QSI-583	-20.00	0.48	31457	9.02	9.96	1x1	6.2.2011	ds	Consistent results
KODAK KAF-8300	QHY	QHY9	-20.00	0.23	15073	9.37	10.34	1x1	8.2.2011	ti	Consistent results; Gain = 81%; Offset = 107
KODAK KAF-8300	QSI	QSI-583	-20.00	0.47	30801	9.40	10.47	1x1	28.4.2013		Consistent results
KODAK KAF-8300	QSI	QSI-583	-25.00	0.46	30146	9.64	10.55	1x1	8.2.2012	NM	Consistent results
KODAK KAF-8300	Atik	383L+	-15.00	0.45	29491	10.18	11.49	1x1	15.2.2011	or	Consistent results
KODAK KAF-8300	FLI	ML8300		0.42	27525	10.20	10.89	1x1	27.11.2012	SL63	Consistent results
KODAK KAF-8300	Atik	383L+	-20.00	0.45	29491	10.31	11.43	1x1	29.1.2011	AH	Consistent results
KODAK KAF-8300	FLI	ML8300	-30.00	0.44	28835	10.33	10.91	1x1	23.6.2010	AR	Consistent results
KODAK KAF-8300	SBIG	ST-8300M	-15.00	0.38	24903	10.41	11.29	1x1	19.6.2011	ko	Consistent results; more noise than expected
KODAK KAF-8300	Atik	383L+	-15.00	0.46	30146	10.56	11.88	1x1	17.12.2010	JS	Consistent results
KODAK KAF-8300	Atik	383L+	-20.00	0.47	30801	10.60	11.60	1x1	6.5.2011	zo	Consistent results
KODAK KAF-8300	Orion USA	Parsec 8300M	-15.00	0.61	39976	10.82	12.11	1x1	30.1.2011	so	Consistent results
KODAK KAF-8300	QHY	QHY9	-30.00	0.50	32768	11.80	13.39	1x1	16.2.2011	DK	Same camera with different settings
KODAK KAF-8300	QSI	QSI-683	-20.00	1.06	69467	11.90	13.65	2x2	1.8.2012	MS	Consistent results
KODAK KAF-8300	StarlightXpress	SXVR-H18	-25.00	0.50	32768	12.28	13.41	1x1	12.2.2011	DR	Same camera – initial – Pattern Noise
KODAK KAF-8300	StarlightXpress	SXVR-H18		0.29	19005	14.04	15.90	1x1	12.6.2012	Pho	Low gain, high noise
KODAK KAF-8300	StarlightXpress	SXVR-H18	-25.00	0.60	39321	14.21	15.42	1x1	9.3.2011	DR	Same camera – tunned – Pattern Noise still present
KODAK KAI-11002	Moravian Instruments	G3-11000	-35.00	0.59	38666	8.82	10.15	1x1	24.3.2012	MD	Consistent results
KODAK KAI-11002	SBIG	STL-11000	-20.00	0.81	53083	8.94	15.00	1x1	10.10.2010	LB	Consistent results
KODAK KAI-11002	Moravian Instruments	G3-11000	-25.00	0.62	40632	9.02	13.25	1x1	7.10.2010	beta	Pre-production beta camera
KODAK KAI-11002	Moravian Instruments	G3-11000	-40.00	0.64	41942	9.44	10.49	1x1	3.2.2012	PP	Consistent results
KODAK KAI-11002	QHY	QHY11	-20.00	0.45	29491	10.91	12.82	1x1	9.1.2011	DR	Random results; Gain = 0; Offset = 125
KODAK KAI-11002	Moravian Instruments	G3-11000	-30.00	1.28	83885	11.40	14.15	2x2	29.3.2012	PP	Consistent results
KODAK KAI-11002	SBIG	STL-11000	-20.00	1.63	106822	12.22	28.20	2x2	9.10.2010	LB	Consistent results
KODAK KAI-16000	Apogee	16000	-30.00	0.48	31457	5.77	6.43	1x1	7.5.2012	MM	KAI-16000 chip in U16 body; Very low noise; Class 2
SONY ICX205	Atik	314E		0.20	13107	4.62	4.91	1x1	9.6.2012	DA	Consistent results
SONY ICX274	Atik	420M		0.12	7864	3.56	3.94	1x1	27.11.2012	OK	Consistent results; perfect, very low noise camera
SONY ICX285	Atik	314L				3.50		1x1		AK
SONY ICX285	Atik	314L+	-5.00	0.24	15728	3.54	3.83	1x1	20.6.2010	PN	Consistent results
SONY ICX285	Atik	314L+	-5.00	0.26	17039	3.74	3.97	1x1	5.2.2012	PP	My second 314L+ (replaced camera) was perfect
SONY ICX285	Atik	314L+		0.25	16384	3.74	3.98	1x1	13.6.2012	PM	Consistent results; perfect, very low noise camera
SONY ICX285	Atik	314L		0.26	17039	4.63	5.25	1x1	13.6.2012	HPL	Consistent results
SONY ICX285	Meade	DSI Pro III		0.25	16384	4.68	7.19	1x1		PM	Consistent results
SONY ICX285	Atik	314L+	-10.00	0.25	16384	6.75	7.19	1x1	12.7.2009	PP	My first 314L+ was returned to Atik due to RN over 4e-
SONY ICX285	Orion USA	StarShoot III		0.37	24248	6.92	7.09	1x1	30.7.2012	Gr	Consistent results
SONY ICX285	Atik	314L+		0.26	17039	7.21	7.59	1x1	26.1.2011	mo	Inconsistent results; weird histogram shape; more noise
SONY ICX285	Orion USA	StarShoot III		0.37	24248	9.87	9.05	1x1	26.8.2009	so	TSN < RN = calibration with bias introduces more noise
SONY ICX413	QHY	QHY8L	-15.00	0.44	28835	6.08	6.50	1x1	15.6.2011	JB	Consistent results; Gain = 15; Offset = 113; RN ???
SONY ICX413	Orion USA	SS Pro V2		0.38	24903	10.18	9.85	Red	13.6.2012	PH	TSN < RN = calibration with bias introduces more noise
SONY ICX413	Orion USA	SS Pro V2		0.48	31457	13.06	12.87	Blue	13.6.2012	PH	TSN < RN = calibration with bias introduces more noise
SONY ICX413	Orion USA	SS Pro V2		0.49	32112	13.18	12.73	Green1	13.6.2012	PH	TSN < RN = calibration with bias introduces more noise
SONY ICX413	Orion USA	SS Pro V2		0.49	32112	13.21	13.04	Green2	13.6.2012	PH	TSN < RN = calibration with bias introduces more noise
SONY ICX413	Orion USA	SS Pro V2		0.48	31457	14.10	13.08	Red	26.6.2010	KB	TSN < RN = calibration with bias introduces more noise
SONY ICX413	Orion USA	SS Pro V2		0.48	31457	14.20	13.10	Blue	26.6.2010	KB	TSN < RN = calibration with bias introduces more noise
SONY ICX413	Orion USA	SS Pro V2		0.49	32112	14.31	13.27	Green2	26.6.2010	KB	TSN < RN = calibration with bias introduces more noise
SONY ICX413	Orion USA	SS Pro V2		0.51	33423	14.79	13.70	Green1	26.6.2010	KB	TSN < RN = calibration with bias introduces more noise
SONY ICX419	Orion USA	G3	15.00	0.91	59637	9.57	10.87	1x1	31.5.2012	gr	Consistent results
SONY ICX424	Atik	16ic		0.29	19005	4.65	6.74	1x1	9.2.2011	MR	Consistent results
SONY ICX424	Atik	16ic		0.30	19661	4.77	7.31	1x1	23.1.2011	PP	Consistent results
SONY ICX424	Atik	Titan		0.32	20971	6.25	6.63	1x1	13.6.2012	PM	Consistent results
SONY ICX424	Moravian Instruments	G1-0300	29.00	0.33	21627	16.20	18.16	1x1	16.7.2011	PP	Uncooled camera at very high ambient temperature
SONY ICX429	Brightstar	Mammut	14.00	1.09	71433	13.89	15.26	1x1	5.7.2011	PM	Cooled camera
SONY ICX429	Orion USA	StarShoot II		0.26	17039	14.37	17.16	1x1	20.6.2010	PP	Consistent results BUT Pattern Noise + other issues
SONY ICX429	Brightstar	Mammut	26.00	1.10	72089	15.97	34.74	1x1	5.7.2011	PM	Uncooled camera
SONY ICX445	Moravian Instruments	G1-1200		0.12	7864	4.04	6.05	1x1	26.4.2013	PP	Consistent results – SLOW/LOW NOISE readout mode
SONY ICX445	Moravian Instruments	G1-1200		0.12	7864	6.10	6.58	1x1	26.4.2013	PP	Consistent results – FAST readout mode settings
SONY ICX453	StarlightXpress	M25Color – G1		0.31	20316	9.60	10.49	Green1	13.6.2012	Pho	Consistent results
SONY ICX453	StarlightXpress	M25Color – R		0.32	20971	9.72	10.63	Red	13.6.2012	Pho	Consistent results
SONY ICX453	StarlightXpress	M25Color – G2		0.32	20971	9.78	10.67	Green2	13.6.2012	Pho	Consistent results
SONY ICX453	StarlightXpress	M25Color – B		0.32	20971	9.84	10.72	Blue	13.6.2012	Pho	Consistent results
SONY ICX453	QHY	QHY8		0.53	34734	11.45	12.42	1x1	25.8.2009	MM	Consistent results; Gain = 0; Offset = 120
SONY ICX493	QHY	QHY10		0.75	49151	9.02	9.62	Blue	13.6.2012	Pho	Consistent results; Gain = 11; Offset = 140
SONY ICX493	QHY	QHY10	-20.00	0.73	47841	9.08	9.47	1x1	16.2.2012	PP	Consistent results; Gain = 13; Offset = 130
SONY ICX493	QHY	QHY10		0.75	49151	9.13	9.90	Red	13.6.2012	Pho	Consistent results; Gain = 11; Offset = 140
SONY ICX493	QHY	QHY10		0.76	49807	9.23	9.85	Green1	13.6.2012	Pho	Consistent results; Gain = 11; Offset = 140
SONY ICX493	QHY	QHY10		0.77	50462	9.45	10.22	Green2	13.6.2012	Pho	Consistent results; Gain = 11; Offset = 140
SONY ICX493	QHY	QHY10	-17.00	0.70	45875	9.79	10.33	1x1	22.6.2011	gi	Consistent results; Gain = 14; Offset = 130
SONY ICX618	QHY	IMG0H		0.05		7.62	7.98	1x1	7.2.2012	JK	Consistent results
SONY ICX655color	Atik	450Color – R		0.07	4587	4.96	5.25	Red	12.6.2012	Pho	Consistent results – RED CHANNEL
SONY ICX655color	Atik	450Color – G1		0.08	5243	5.49	5.82	Green1	12.6.2012	Pho	Consistent results – 1.GREEN CHANNEL
SONY ICX655color	Atik	450Color – B		0.08	5243	5.51	5.84	Blue	12.6.2012	Pho	Consistent results – BLUE CHANNEL
SONY ICX655color	Atik	450Color – G2		0.08	5243	5.52	5.86	Green2	12.6.2012	Pho	Consistent results – 2.GREEN CHANNEL
SONY ICX674	Atik	428EXM	-5.00	0.25	16384	6.45	6.72	1x1	16.2.2012	BWA	Weird histogram shape; more noise then expected
SONY ICX694	QHY	QHY22		0.28	18350	4.29	4.40	1x1	11.2.2013	ROR	Consistent results; perfect, very low noise camera
SONY ICX694	Atik	460EXM		0.25	16384	4.69	5.03	1x1	28.4.2013		Consistent results; perfect, very low noise camera
SONY ICX694	Atik	460EXM	-10.00	0.26	17039	4.79	5.10	1x1	27.11.2012	PJ	Consistent results; perfect, very low noise camera
SONY ICX694	Atik	460EXM	-10.00	0.25	16384	4.90	5.21	1x1	4.5.2012	jc	Consistent results; perfect, very low noise camera
SONY ICX694	Atik	460EXM	-10.00	0.26	17039	5.02	5.31	1x1	1.8.2012	PP	Consistent results; perfect, very low noise camera
SONY ICX694	StarlightXpress	SXVR-H694M	-17.00	0.30	19661	6.31	6.60	1x1	15.3.2013	vdb	Consistent results
SONY ICX694	StarlightXpress	SXVR-H694M	-12.00	0.29	19005	7.34	26.98	1x1	17.5.2012	MM	Higher RN then expected – STRONG Pattern Noise
SONY ICX694	StarlightXpress	SXVR-H694M	0.00	0.31	20316	9.10	29.45	1x1	26.5.2012	Ka	High RN at high temperature – STRONG Pattern Noise
SONY ICX694	StarlightXpress	SXVR-H694M	0.00	0.33	21627	10.52	11.43	2x2	26.5.2012	Ka	High RN at high temperature
SONY ICX814	StarlightXpress	SXVR-H814M		0.53	34734	7.93	8.50	1x1	5.6.2013		Consistent results